Recommendations for the City Hall’s Green Renovation

By Adepeju Paige

As the city prepares to invest in upgrading its main administrative building, now is the perfect time to integrate meaningful sustainability improvements. Making smart changes will enhance energy efficiency, cut unnecessary costs, and create a more comfortable space for everyone. Below are my recommendations based on the building’s current features.

Building Exterior

- Windows & Doors: The original windows and doors are outdated and inefficient. Swapping them out for energy-efficient options will reduce heat loss in winter and excessive heat gain in summer. Better insulation means lower energy bills.

- Exterior Lighting: Since the lights are always on for safety, installing motion sensors or smart timers would prevent waste while keeping security intact. LED bulbs will also cut energy consumption.

Office Spaces

- Lighting: The old fixtures need an upgrade. Energy-efficient LED lighting with smart controls will brighten the space while lowering electricity use.

- Temperature Control: No one should struggle with extreme temperatures indoors. Adding insulation and upgrading the HVAC system to a zonal or high-efficiency model will regulate heating and cooling better.

- Windows: Leaky windows during heavy rain? That’s a major issue. Replacing them with properly sealed, double-glazed options will improve insulation and keep the weather outside where it belongs.

Restrooms

- Plumbing: Leaky pipes, sinks, and toilets aren’t just annoying—they’re wasteful. Installing modern, water-efficient fixtures like low-flow faucets and dual-flush toilets will cut water waste significantly.

- Lighting: If the lights are always on, motion sensors are a must. They’ll maintain visibility without wasting electricity.

- Ventilation: Poor airflow leads to unpleasant restrooms. An upgraded exhaust system with energy-efficient fans will improve air circulation and prevent moisture buildup.

Attic Space

- Insulation: The unfinished sections contribute to extreme summer and winter temperatures. Proper insulation will help regulate indoor conditions year-round.

- Roof Maintenance: A patched roof isn’t enough—investing in a durable, energy-efficient roofing solution will prevent future leaks and improve temperature control inside the building.

General Recommendations

- Installing solar panels will offset electricity costs and improve energy independence.

- Upgrading the HVAC system with high-efficiency filters will create a healthier indoor environment.

- Implementing a waste reduction program with recycling bins will make sustainability a habit.

- Using drought-resistant landscaping and rainwater harvesting systems will minimize outdoor water use.

With these upgrades, the administrative building will be greener, more efficient, and better equipped for the future. Making these changes now will ensure long-term benefits for the city and everyone who uses the space.